{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":9,"rows_kept":22,"merged":[[0,0,0,8],[2,0,19,0],[2,1,19,1],[2,2,19,2],[2,3,19,3],[2,4,19,4],[2,5,19,5],[2,6,19,6],[2,8,19,8],[21,0,21,8]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","医保一级分类","医保二级分类","医保三级分类","医保特征","用途需求","套包内产品及参数需求\n（以下清单及规格仅供参考）","其他需求"]
[1,"一次性腹腔胸腔穿刺置管引流包","01-非血管介入治疗类材料","06-非血管介入通用材料","03-非血管介入引流管","套装","\n1、主要用于腹水引流，胸水引流，心包引流，肝肾脓囊肿引流，盆腔积液引流等\n2、可进行穿刺置管操作\n3、包含消毒、铺巾等相关材料\n4、打开即可使用，无需额外准备物品","留置引流导管：\n多功能引流管，带止流夹，头端直开孔或者加侧开孔，需包含单腔，也可以有双腔、三腔；管径5F~8F、长度16~25cm","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[3,{"$nulls":6},"穿刺针：14-18G"]
[{"$nulls":7},"导丝：直径不超过1mm，弯头"]
[{"$nulls":7},"扩张器"]
[{"$nulls":7},"体外吸引连接管"]
[{"$nulls":7},"一次性使用无菌注射器"]
[{"$nulls":7},"一次性使用无菌注射针"]
[{"$nulls":7},"带线缝合针"]
[{"$nulls":7},"无菌塑柄手术刀"]
[{"$nulls":7},"一次性使用灭菌橡胶外科手套 (无粉)"]
[{"$nulls":7},"医用纱布"]
[{"$nulls":7},"消毒刷"]
[{"$nulls":7},"医用棉球"]
[{"$nulls":7},"洞巾"]
[{"$nulls":7},"中单"]
[{"$nulls":7},"导丝控制手柄"]
[{"$nulls":7},"一次性无菌输液接头"]
[{"$nulls":7},"粘贴伤口敷料(自贴式敷料)"]
[]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}