{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":4,"rows_kept":6,"merged":[[0,0,0,3],[5,0,5,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[1,"腹主动脉覆膜支架系统","1、适用于肾下型腹主动脉瘤的腔内治疗，可满足腹主动脉瘤近端瘤颈直径为18-30mm，长度＞9mm，且近端瘤颈成角＜80度；可满足髂动脉锚定区直径范围9-20mm，长度＞14mm。\n2、可有效提升EVAR治疗的术中和远期效果。\n3、支架柔顺性和定位效果好，不易移位\n4、近端后释放，髂动脉延长支架须有锚定倒刺，增强支架的连接。\n5、近端带裸支架，且有倒刺设计\n6、主体支架直径需包含21-28mm，长度需包含110-150mm；延长段直径需包含12-26mm，髂支长度需包含60-160mm。","一、如有必须配合使用的配套设备、耗材、试剂、质控等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[2,"带线可吸收锚钉","1、集采中选品种\n2、可用于肩袖损伤修复，班卡特修复，SLAP损伤修复，二头肌腱固定，关节囊移位或者关节囊盂唇重建，足踝内外侧固定，膝内外侧副韧带重建，髋臼唇修复等\n3、锚钉钉体材质为可吸收\n4、锚钉自带缝线可提供部分可吸收或部分自收紧类型选择","一、如有必须配合使用的配套设备、耗材、试剂、质控等，需一起报名\n二、具备医疗器械注册证\n三、已纳入《广州市社会医疗保险及生育保险医用耗材目录》"]
[]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}