{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["20250806"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"20250806","index":0,"n_rows":5,"n_cols":4,"rows_kept":5,"merged":[[0,0,0,3],[4,0,4,3]],"flags":["formulas_cached_only"]}
["附件一：调研产品清单及需求"]
["序号","耗材名称","用途及参数需求","其他需求"]
[1,"微卫星不稳定性(MSI)检测试剂盒","性能需求：\n1、用于体外定性检测实体瘤患者样本DNA的微卫星不稳定性(MSI)状态。\n2、检查范围至少包含：BAT-26、BAT-25、MONO-27、NR-24等单核苷酸标志物。\n","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》\n三、如有必须用到的专用配套耗材，需一起报名"]
[2,"肿瘤组织起源基因检测试剂盒","性能需求：\n1、通过检测组织分化程度较差或疑似转移的实体肿瘤患者的福尔马林固定、石蜡包埋组织样本中组织特异基因表达模式，协助判别肿瘤组织起源。\n2、试剂盒基适用于主流进口或国产实时荧光定量PCR平台，如ABI ViiA7DX，宏石SLAN-96S上进行检测。\n3、检测基因数≥90，检测涵盖≥14种常见实体瘤，可区分鳞癌，癌种包括但不限于：头颈鳞癌、胃及食管鳞癌、肺鳞癌、宫颈鳞癌。\n4、检测整体阳性符合率≥85%。\n5、具备基于该试剂盒检测的分析软件，且已获得NMPA注册证。","一、具备医疗器械注册证\n二、已纳入《广州市社会医疗保险及生育保险医用耗材目录》\n三、如有必须用到的专用配套耗材，需一起报名"]
["声明：以上所述的初步配置及参数需求等要求无指向性、倾向性和排他性，因市场了解的局限性，可能存在不足，仅作为本次市场调研参考用。"]